IBC04-Form1.  Biological spill procedures.

Biological Spill Procedure

BSL-2 Research Laboratory

<<<For minor spills>>>

Limit exposure

Contain spill with absorbent material

Disinfect e.g., 10% bleach for 15m

Clean up using appropriate PPE

Reapply disinfectant for final clean up

Inform PI and/or lab supervisor

<<<For large spills>>>

Limit exposure

Contain as much as possible

Contact Security Dispatch

559-5555

<<<For known human exposure>>>

Call

*9-888-OUCH [6824] or 9-OUCH

Spills involving personnel exposure and/or

environmental concerns are reported

to the IBC within 24h.

Reporting form is available at www.unmc.edu/ibc/

Biological Spill Procedure

BSL-3 Research Laboratory

<<<For minor spill>>>

Utilize appropriate PPE and disinfectant to clean-up the spill

Inform PI and/or lab supervisor

<<<For major spill>>>

Leave the containment area

Remove contaminated clothing

Place a warning sign on the lab entrance

Inform PI and/or lab supervisor

Contact Security Dispatch

559-5555

<<<For know or potential human exposure>>>

Call

*9-888-OUCH [6824] or 9-OUCH

All spills within the BSL-3 laboratory must

be reported to the IBC within 24 h.

Reporting form is available at www.unmc.edu/ibc/