Laboratory Biosafety Compliance Inspection Checklist

Animal Biosafety Level 2

Note:  Also refer to the Compliance Inspection Checklist for Biosafety Level 2.

Date  ______________			Laboratory Location 	_______________________

Responsible Individual_______________________

IBC#  _____________ (if applicable)	Person 	Interviewed 	_______________________

## GENERAL INFORMATION

A.	Classification status

1. List the animal that will be used in experimentation in this laboratory.

IACUC# _____________

ANIMAL BIOSAFETY LEVEL 2 CRITERIA

A.	Standard Microbiological Practices

(All practices for BL2 must be followed.)

1.  Access to the animal room is limited to the fewest number of		Yes___No___

individuals possible.

2.  An appropriate medical surveillance program is in place.			Yes___No___

3.  All wastes from the animal room (including tissue, carcasses,		Yes___No___

contaminated bedding, unused feed, sharps, and other refuse) are

transported from the animal rooms in leak-proof, covered containers

for disposal.

B.	Special Practices

(All practices for BL2 must be followed.)

1.  Only animals used for experiments are allowed in the room.		Yes___No___

C.	Safety Equipment

(All practices for BL2 must be followed.)

1.  Gloves, uniforms, or lab coats are worn while in the animal room.	Yes___No___

2.  Animals are housed in primary biosafety containment			Yes___No___

equipment appropriate for the animal species.  Filter top cages are		NA___

always handled in properly designed and operating animal

biocontainment cabinets recommended for rodents.

D.	Laboratory Facilities

(All practices for BL2 must be followed.)

1.  Access to the facility is limited by secure locked doors			Yes___No___

2. Doors to animal rooms open inward, are self closing, and are kept 	Yes___No___

closed when experimental animals are present.

3.  If floor drains are provided, the traps are always filled with an		Yes___No___

appropriate disinfectant.							NA___

4.  Cages are washed manually or in an appropriate cage washer		Yes___No___

The mechanical washer should have a final rinse temperature of

at least 180 F.