Laboratory Biosafety Compliance Inspection Checklist

Biosafety Levels 1 and 2

Date  	_________________________	Laboratory Location(s)   _______________

IBC#  	_________________________          ___________________________________

_________________________	Responsible Individual   _______________

_________________________	Person Interviewed         _______________

Title: 	_________________________________________________________________ _______________________________________________________________________

Queries are based on Appendix G of the NIH Guidelines (April 2002) and the Biosafety Level 1 & 2 sections of the Biosafety in Microbiological and Biomedical Laboratories, 5th Edition, 2007

Abbreviations: NA, not applicable; BL-1, biosafety level 1 practices; BL-2, biosafety level 2 practices; PPE, personnel protective equipment; PI, primary investigator.

(Note: All BL-1 practices are also followed in BL-2 containment laboratories.)

Circle the response that best describes the laboratory in which work will be performed.

| A. Standard Microbiological Practices |  |
| --- | --- |
| 1. Access to the laboratory is limited or restricted at the discretion of the PI when work with a biohazardous agent is in progress. [BL-1] | Yes, No |
| 2. Work surfaces are decontaminated at least once a day and after any spill or splash of potentially infectious material with an appropriate disinfectant. [BL-1] | Yes, No |
| 3. Personnel are instructed to wash their hands after handling infectious materials, after removing gloves, and before leaving the laboratory to a non-laboratory area. [BL-1] | Yes, No |
| 4. Eating, drinking, handling contact lenses, and applying cosmetics are permitted only in non-laboratory areas. [BL-1] | Yes, No |
| 5. Food is stored outside the work area in cabinets or refrigerators designated for this purpose and food is consumed only in designated “clean areas”. [BL-1] | Yes, No |
| 6. Mouth pipetting is prohibited (i.e., mechanical pipetting devices are used). [BL-1] | Yes, No |
| 7. All procedures are performed carefully to minimize the creation of splashes and/or aerosols. [BL-1] | Yes, No |
| 8. Policies for the safe handling of sharps (i.e., needles, scalpels, pipettes, broken glass, etc.) are instituted. [BL-1] | Yes, No |
| 9. An effective integrated pest management program is in effect [BL-1] | Yes, No |
| 10. Biohazardous waste is placed into a durable leak-proof container which is transported off-site for decontamination. [BL-1] If no: Identify the in-house method of decontamination. Describe the method used to monitor the decontamination process. List room number where the decontamination process occurs. | Yes, No ____________ ____________ ____________ |
| 11. Work surfaces are decontaminated routinely with a disinfectant effective against the biohazardous agent utilized. [BL-1] List disinfectant(s). If bleach is used, a mechanism is in place to discard all diluted bleach within 2 weeks after diluting. | Yes, No ____________ ____________ Yes, No, NA |
| 12. Broken glass is handled to prevent cuts and placed into a hard-walled container for disposal. Glass containing a biohazardous agent is disposed as biohazardous waste. [BL-1] | Yes, No Yes, No |
| 13. Disposable pipettes, pipette tips, glass slides, etc., WHETHER CONTAMINATED WITH A BIOHAZARDOUS AGENT OR NOT, are placed into a sturdy puncture-proof container and disposed as biohazardous waste. [BL-1] | Yes, No |
| 14. A biohazard sign is posted on the entrance to the laboratory where biohazardous materials are used (information includes the biosafety level symbol and the contact’s name and telephone number). [BL-1] | Yes, No |
| 15. The PI recognizes they are responsible for activities in the laboratory and that all personnel are properly trained. [BL-1] | Yes, No |
| 16. The PI provides a means for annual updates and additional training when procedural or policy changes occur. [BL-1] | Yes, No |
| 17. Information is provided to employees regarding immune competence and conditions that may predispose them to infection (e.g., depressed immune status and risks to women of child-bearing age) Employees are encouraged by the PI to self-identify to Employee Health for appropriate counseling and guidance, when the need arises. [BL-1] | Yes, No Yes, No |
| B. Special Practices |  |
| 1. All individuals entering the laboratory are advised of potential hazards and meet any specific entry and/or exit requirements. [BL-2] | Yes, No |
| 2. Laboratory personnel are provided medical surveillance and offered immunizations when appropriate. [BL-2] | Yes, No |
| 3. A biohazard symbol is posted on all equipment that store or are used in the manipulation of biohazardous agents. [BL-2] | Yes, No |
| 4. Biosafety practices and lab standard operating procedures are incorporated into a laboratory specific Biosafety Manual This manual is available for all personnel in the laboratory and updated annually. [BL-2] | Yes, No Yes, No |
| 5. The PI ensures that laboratory personnel demonstrate proficiency in standard and special microbiological practices BEFORE working with biohazardous agents. [BL-2] | Yes, No |
| 6. Needles/syringes are restricted in the laboratory and used only when there is no alternative. [BL-2] If yes, special containers are available for disposal. | Yes, No, NA Yes, No |
| 7. Laboratory equipment is routinely decontaminated after contamination and before being sent for repair, maintenance, or removed from the laboratory. [BL-2] | Yes, No |
| 8. A biological spill emergency plan is posted in the laboratory. Personnel are instructed to report exposures immediately to the PI or lab manager. [BL-2] | Yes, No Yes, No |
| 9. Potentially infectious materials are placed in a durable, leak-proof container during collection, storage, and transport within a facility. [BL-2] | Yes, No |
| 10. The PI is familiar with the University policies pertaining to a “Biological Spill” and the “Reporting of Research Related Adverse Events”. [BL-2] | Yes, No |
| 11. Procedures that involve the manipulation of infectious materials where an aerosol may be generated are conducted within a biological safety cabinet or other physical containment device. [BL-2] | Yes, No |
| 12. Biohazardous agents are used in animals. [BL-2] If yes: Record the location where these procedures are done. List the procedure(s) used. Indicate whether the procedures are terminal or survival. Indicate whether the animals are kept in or returned to the animal facility. | Yes, No ____________ ____________ ____________ ____________ |
| C. Safety Equipment (Primary Barriers and PPE) |  |
| 1. Personal protective equipment such as non-powdered latex gloves, protective clothing, and eye protection are available when needed to perform experiments. [BL-1] | Yes, No |
| 2. Personal protective equipment are removed and retained in the laboratory before leaving for non-laboratory areas. [BL-1] | Yes, No |
| 3. Gloves are worn to protect hands from exposure to biohazardous materials. Personnel are instructed to remove gloves and wash hands when work with the hazardous material is completed. [BL-1] | Yes, No |
| 4. An alternative to latex gloves will be available in the laboratory as needed. [BL-1] | Yes, No |
| 5. Disposable gloves are not washed or reused Gloves used to handle biohazardous materials are disposed with other contaminated laboratory waste. [BL-1] | Yes, No Yes, No |
| 6. Protective clothing that is reused is laundered by the Institution. [BL-1] | Yes, No |
| 7. Open flames are used in the laboratory. [BL-1] If yes: Explain why an alternative to an open flame is not available. | Yes, No ____________ ____________ |
| 8. A biological safety cabinet is available for the containment of biohazardous agents. [BL-2] If yes: List the Class type. Indicate the date(s) of last certification. | Yes, No ______________ ______________ |
| 9. Centrifugation of highly concentrated or large volumes of an infectious agent is done in the open laboratory. If yes, a rotor head that can be sealed or centrifuge safety cups are available and these are opened in a biological safety cabinet after processing. [BL-2] | Yes, No, NA Yes, No |
| D. Laboratory Facilities (Secondary barriers) |  |
| 1. The laboratory contains a sink for hand washing located near the exit door. [BL-1] | Yes, No |
| 2. Bench tops are impervious to water and resistant to chemicals used to decontaminate the work surfaces. [BL-1] | Yes, No |
| 3. Windows that open to the exterior are fitted with fly screens. [BL-1] | Yes, No, NA |
| 4. The laboratory is designed to be easily cleaned (i.e., no carpets or rugs in the laboratory area).[BL-1] | Yes, No |
| 5. Laboratory furniture is sturdy and appropriate for the tasks performed. [BL-1] | Yes, No |
| 6. Spaces between benches, cabinets, and equipment are accessible for cleaning. [BL-1] | Yes, No |
| 7. Chairs used in the laboratory work area are covered with a non-fabric material. [BL-1] | Yes, No |
| 8. An eyewash station is readily available. [BL-1] | Yes, No |
| 9. Illumination is adequate for all activities. [BL-1] | Yes, No |
| 10. Laboratory doors are self-closing and have locks in accordance with Institutional policies. [BL-2] | Yes, No |
| 11. An in-house vacuum line or a mechanical vacuum system is in use. [BL-2] If yes, an in-line HEPA filter and/or disinfectant trap is (are) available. | Yes, No Yes, No |
| 12. A back-up method for decontamination of laboratory waste is available in the facility. [BL-2] If yes, describe the method used. | Yes, No _____________ |
| 13. Select agents (those organisms and toxins determined by the US DHHS as potential for use in bioterrorism related activities) are used in the laboratory. [BL-2] If yes, all requirements of the Select Agent Program have been instituted | Yes, No Yes, No |