IBC01-Form 1. Autoclave core facilities biosafety inspection checklist.a,b

Date _________________________		Location____________________________

Supervisor_____________________		Person Interviewed____________________

(All Autoclave Core Facilities at UNMC undergo periodic inspections to validate adherence to University policies concerning the handling and disposal of biohazardous waste.)

_______________________________________________________________________

□	A chemical indicator strip is processed with each decontamination cycle and the

processed strip is recorded in a log book to indicate the results of testing.

(records are maintained for at least three years)

□	A biological indicator is run at least weekly [or per load if decontamination loads

run more than a week apart] in autoclaves used for decontamination and the

results of testing recorded. (records are maintained for at least three years)

□	All individuals who handle biohazardous materials have successfully completed

the web-based General Biosafety Training program within the past 3 years.

(For information and access, contact the Biosafety Officer)

□	A copy of the UNMC policy #IBC01, Autoclave Operation and Safety, is 	available in the core facility and all individuals operating the autoclave have read

this document.

□	A core facility-specific procedure is available to describe the autoclave 	monitoring process and the steps to be taken when results of monitoring are not

acceptable.

□	The supervisor is aware of the monitoring process and at least quarterly

documents that the results of testing have been reviewed.

_______________________________________________________________________

aThis checklist is used to evaluate facilities where decontamination is a part of the core function.

bNon-adherence to the points on this checklist may result is suspension of the core facility activities until compliance has been validated.