FACILITIES MANAGEMENT AND PLANNING

# Interim Life Safety Measures Monitoring Report

| DATE: |  |  |  |  |  | PROJECT NAME: |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| PROJECT NUMBER: |  |  |  |  |  |  | COORDINATOR: |  |  |  |
| NAME OF PERSON COMPLETING SURVEY: |  |  |  |  |  |  |  |  |  |  |

| TOPIC | YES | NO | N/A | COMMENTS |
| --- | --- | --- | --- | --- |
| There have been no spills (chemical, water, etc.) since the last survey. |  |  |  |  |
| The construction site is clean and orderly. |  |  |  |  |
| The floor has no trip hazards. |  |  |  |  |
| There are no doors propped or wedged open. |  |  |  |  |
| The storage area is kept clean and orderly. |  |  |  |  |
| Fire extinguishers of the proper type are available, in operating condition and properly tagged. |  |  |  |  |
| There are no open and unattended electrical boxes or panels with live energized wires. |  |  |  |  |
| All electrical switches, boxes and panels are functioning properly. |  |  |  |  |
| The fire alarm pull stations and detectors are functioning and accessible. |  |  |  |  |
| The fire protection (sprinkler system) is functional. (Where Applicable). |  |  |  |  |
| Material Safety Data Sheets (MSDS's) are available for each hazardous substance on the jobsite. |  |  |  |  |
| Contractor and subs know spill and fire plan. |  |  |  |  |
| The emergency phone numbers are posted in a prominent place. |  |  |  |  |
| Contractor is using proper protocol and equipment. |  |  |  |  |
| The exit routes are obvious, identified and clear of obstructions. |  |  |  |  |
| The corridors are clear of obstruction. |  |  |  |  |
| The fire separations are in place, including temporary one-hour fire rated partitions with no unprotected opening. All voids in fire rated partitions have been properly sealed. |  |  |  |  |
| The access to the construction job site is restricted. |  |  |  |  |
| The Contractor is following UNMC Dust Control procedures including the use of dust carts. |  |  |  |  |
| The construction debris and supplies are moved via designated and approved routes. |  |  |  |  |
| The debris carts, including wheels, are being wiped down before removal for jobsite. |  |  |  |  |
| Utility interruptions have been planned with the project coordinator and users notified. |  |  |  |  |
| There have been no unplanned interruptions of utilities. |  |  |  |  |
| Welding & cutting permits have been issued prior to work being performed. |  |  |  |  |
| ADDITIONAL COMMENTS: |  |  |  |  |

987100 Nebraska Medical Center / Omaha, Nebraska 69198-7100

PH: 402-559-5300 / FAX: 402-559-8282 / www.unmc.edu