Laboratory Biosafety Compliance Inspection Checklist

Animal Biosafety Level 3

Note:  Also refer to the Compliance Inspection Checklists for Biosafety Level 2 and 3, as well as Animal Biosafety Level 2.

Date  ______________			Laboratory Location 	_______________________

Responsible Individual_______________________

IBC#  _____________ (if applicable)	Person 	Interviewed 	_______________________

ANIMAL BIOSAFETY LEVEL 3 CRITERIA

A.	Standard Microbiological Procedures

(All procedures for ABL2 and BL3 must be followed.)

B.	Special Procedures

(All procedures for ABL2 and BL3 must be followed.)

1.  Cages are autoclaved or thoroughly decontaminated before bedding 	Yes___No___

is removed and the cages are cleaned and washed.

C.	Safety Equipment

(All procedures for ABL2 and BL3 must be followed.)

1.  Uniforms or scrub suits are worn by personnel entering the animal	Yes___No___

room.

2.  The scrub suit and 	uniform are decontaminated prior to laundering 	Yes___No___

or disposal.

3.  To reduce the risk of infectious aerosols from infected animals or	Yes___No___

their bedding, the animals are housed in a containment caging system

such as open cages placed in inward flow ventilated enclosures.

3.  Respiratory and face protection are used when in the ABL3 		Yes___No___

containment area.

D.	Laboratory Facilities

(All procedures for ABL2 and BL3 must be followed.)

1.  Entry into the animal room is via a double-door entry that includes	Yes___No___

a change room and shower(s).

2.  A double-door access (air-lock) or double-door autoclave is 		Yes___No___

provided for movement of supplies and wastes into and out of the facility,

respectively.

3.  A hands-free or automatically operated hand washing sink is provided	Yes___No___

in each animal room near the exit door.  The sink trap is filled with an

appropriate disinfectant after each use.

4.  A HVAC control system is available to prevent sustained positive	Yes___No___

pressurization of the animal space (an audible alarm is available to

notify personnel of HVAC system failure).